## Slide 1: Making the Case for CAES (Compressed Air Energy Storage) & Electric Vehicles
Taiyuan Energy Low Carbon Development Forum 2016
Sept 7-9, 2016
Department of Mechanical and Mechatronics
Roydon A. Fraser

## Slide 2: The future…

## Slide 3: Energy Situation: Dominated by Carbon

## Slide 4: Some Common Proposed Carbon Reduction Solutions
Carbon capture & sequestration (CCS)
Coal-to-gas
Shift to natural gas
Increase nuclear
Increase efficiency
Substitute with renewables

## Slide 5: Some Common Proposed Carbon Reduction Solutions
Carbon capture & sequestration (CCS)
Coal-to-gas
Shift to natural gas
Increase nuclear
Increase efficiency
Substitute with renewables
For large scale impact:
Must convert Wind / Solar
Electricity
BUT, intermittency Maximum Electricity
Grid Integration Limited

## Slide 6: What Limits Wind & Solar?
Intermittency / Electricity Grid Stability
Jevon’s Paradox

## Slide 7: What Limits Wind & Solar?
Intermittency / Electricity Grid Stability
Jevon’s Paradox
Example:
Per capita energy
consumption
remains constant.

## Slide 8: Jevon’s Paradox (or Energy Efficiency Paradox)
Examples:
1. Car engine efficiency up
car size up
fuel economy (mpg) 2000 < 1980
2. Cell phone efficiency up
screen size & computational power up
electrical power up
Expect if more access to energy will still access

## Slide 9: Solution to Grid Stability for Renewables
Large scale (> 500 MWh) energy storage.
Solution to
Jevon’s Paradox
Make paradigm shifting changes.

## Slide 10: Solution to Grid Stability for Renewables
Large scale (> 500 MWh) energy storage.
Solution to
Jevon’s Paradox
Make paradigm shifting changes.
Example: Compressed Air Energy Storage (CAES)
CAES is not a battery, it is a hybrid vehicle.
Notes: Can be both a ‘source’ and a ‘load’. Sell electricity each hour, and absorb over 5 to 15 minute periods.

## Slide 11: The CAES Concept…
Salt gallery
windpower
Heat storage
grid
CA storage
CA
CA
turbine
sun→power

## Slide 12: Canada: GHG emissions by sector
Transportation
31.5%
Power generation
20.4%
Residential
8.9%
Industrial
16.3%
Other 11.4%
Non-combustible
6.3%
Commercial 5.2%

## Slide 13: Canada: GHG emissions by sector
Transportation
31.5%
Power generation
20.4%
Residential
8.9%
Industrial
16.3%
Other 11.4%
Non-combustible
6.3%
Commercial 5.2%
CAES
more renewables

## Slide 14: Canada: GHG emissions by sector
Transportation
31.5%
Power generation
20.4%
Residential
8.9%
Industrial
16.3%
Other 11.4%
Non-combustible
6.3%
Commercial 5.2%
CAES
more renewables
CAES
more renewables
through EVs
(a paradigm shift)

## Slide 15: Canada: GHG emissions by sector
Transportation
31.5%
Power generation
20.4%
Residential
8.9%
Industrial
16.3%
Other 11.4%
Non-combustible
6.3%
Commercial 5.2%
CAES
more renewables
CAES
more renewables
through EVs
(a paradigm shift)
CAES
more renewables
through EVs
(second use)

## Slide 16: Alternatives to CAES
Pumped Hydro
Location limited.
Batteries
Toxic Expensive
Flywheels
Large Size Unproven
Chemical
Large Size Safety

## Slide 17: Alternatives to CAES
Pumped Hydro
Location limited.
Batteries
Toxic Expensive
Flywheels
Large Size Unproven
Chemical
Large Size Safety
Slow
Fast
Fast
Transportable

## Slide 18: CAES is not new, so why now?
Horizontal drilling advances,
from Fracking.
Electricity grid stability hitting
wind and solar limits.

## Slide 19: Salt for CAES, South of 60°
AB
AB
SK
MB
ON
NB & NS
QC

## Slide 20
Prairie Evaporite
Lotsberg Salt
Cold Lake Fm
Cold Lake Fm
1000 – 2200 m deep. Up to 200 m thick. Ideal for CAES caverns
Wind in Dec
Superposed with Salt Strata

## Slide 21: Thick Salt & Good Wind!
Bruce
Toronto
Salina B Salt – thickest, but not the deepest
Lake Huron Coast = best windy sites in
SW ON

## Slide 22: Bedded Salt Cavern Simulation
Reality Quarter-World Model

## Slide 23: CAES - Constant P Mode
roof salt
floor salt
BRINE
width
height
rathole
shoe
casing
spacing
top of salt
free air
volume
tubings
500 - 2000 m

## Slide 24: A Problem
Large pancake salt caverns have an inherent problem: Limited size or collapse.
Pancake Salt Cavern
Collapsed Cavern

## Slide 25: Gallery Stress Redistribution
sr
sq
sr
sq
Stress trajectories
Redistribution of stresses
Laminated EP Roof Rock
20-40 m
30-40 m
pi
Salt creeps!
30 year life, up to 10,000 Δp cycles?

## Slide 26: Salt - Asse Salt Mine (DE)
Courtesy National Geographic
In thinly bedded salt (<100 m), long galleries needed to achieve sufficient Volume for CAES

## Slide 27: In Our Study… AB & ON
The thinly bedded salts of ON will require the use of long Galleries for economies of scale
The solutioning of such cigar shaped galleries is novel
400-700 m deep
1 km

## Slide 28: Geomechanics…
Long (800 m) galleries in thinly bedded salt is a new idea

## Slide 29: Geomechanics…
Long (800 m) galleries in thinly bedded salt is a new idea
Stability issues
  Long-term roof span stability in non-salt rocks
  Cyclic loading and permeability/gas effects
  Modeling rock mass behavior is needed

## Slide 30: Geomechanics…
Long (800 m) galleries in thinly bedded salt is a new idea
Stability issues
  Long-term roof span stability in non-salt rocks
  Cyclic loading and permeability/gas effects
  Modeling rock mass behavior is needed
A new advantage for long galleries…
  Roof stable for larger cavern

## Slide 31: What Is Feasible?
In Ontario’s bedded salts…?
  galleries – 25 m diameter – 800-1000 m long (cigar)
  300-500x103 m3 volumetric capacity per gallery
  500 m deep to perhaps 750 m deep
What pressure ranges?
  For 500 m: ~3.5 to ~9 MPa Δp
  For 750 m: ~5 to ~14 MPa Δp
In Alberta?
  Axisymmetric (pancake) caverns, 300-500x103 m3
  1200-1500 m deep: ~8 to ~25 MPa Δp

## Slide 33
Natural Gas Storage?
Power-to-Gas?

## Slide 34: CAES Discipline Integration
Mechanical Engineering
Earth Science & Geomechanics
Power Engineering
Geoscience Parameters
Grid Information
Geoscience Parameters
Grid Information
Generation inputs, parameters
PVT Issues

## Slide 35: CAES / Hybrid Car Analogy
Analogy leverages extensive hybrid vehicle expertise in
1. Model-based design rapid
prototyping
2. Specification identification
3. Architecture selection &
sizing
4. Integration
5. Control
6. Optimization
7. Implementation &
validation

## Slide 36: CAES / Hybrid Car Analogy
Analogy leverages extensive hybrid vehicle expertise in
1. Model-based design rapid
prototyping **
2. Specification identification **
3. Architecture selection &
sizing **
4. Integration ##
5. Control ##
6. Optimization
7. Implementation &
validation ##
** NSERC CRD over next 2 years
## Sarnia based pilot for consideration

## Slide 37: Design of Hybrid Cars is Driven by Drive Cycles
Gasoline
Only
Series
Hybrid
Parallel
Hybrid

## Slide 38: Design of Hybrid Cars is Driven by Drive Cycles
Gasoline
Only
Series
Hybrid
Parallel
Hybrid
SLOW
FAST
SLOW
FAST

## Slide 39: The CAES Drive Cycle

## Slide 40: The CAES Drive Cycle
FAST
SLOW

## Slide 41: UWAFT Vehicle Powertrain - Split
Front
Weber MPE 850 TC
A123 16.2 kWh
GKN AF130-4
GM 8L45 AT
Brusa NLG513
E85 Tank
Rear
GKN AF130-4
Component Description | Performance Specifications | 
Engine: Weber MPE 850cc Turbo | Peak Power | 92 kW
Transmission: GM 8L45 AT | Number of Gears | 8
 | Type | Long. Auto
Final Drive: GM 3.73 Final Drive, eLSD | Final Drive Ratio | 3.73 : 1
Motors: GKN AF 130-4 | Peak Power at 292V | 90 kW
 | Cont. Power at 292V | 64 kW
Battery: A123 6x15s3p | Capacity | 16.2 kWh
 | Nominal Voltage | 292 V
 | Peak Current | 400 A
Charger: Brusa NLG513 | Peak Power | 3.3 kW
Clutch
Mechanical
Electrical
Right-Angle Differential
Fuel
Legend
3.73 : 1
A Hybrid Vehicle Architecture
Notes: Unique ects of the architecture
Brandon

## Slide 42: The CAES Concept…
Salt gallery
windpower
Heat storage
grid
CA storage
CA
CA
turbine
2-3% H2 co-storage?
2-3% CH4 co-storage?
sun→power

## Slide 43: The Hybrid Vehicle Design Approach

## Slide 44: Model-based design
MODEL
DRIVE CYCLE
CONTROL

## Slide 45: CAES / Hybrid Vehicle Analogy
Grid Stability
Peak Shaving
or
Intermittent Energy Buffer
Modular construction
of Architectures
Electricity Grid Demand
MODEL
DRIVE CYCLE
CONTROL

## Slide 47: Battery Second Use
Effect on CO2 emissions

## Slide 48: CAES Architecture Options
Traditional gas turbine CAES **
Adiabatic CAES **
Isothermal CAES
Caverns at different pressures
Air engines
Direct wind to CAES
Renewables through grid to CAES
Traditional Base load through grid to CAES
Variable cavern injection temperatures
Hybrid Adiabatic / Isothermal CAES
Battery / flywheel etc. hybrid capacitor analogy systems
Fast response by-pass systems
Etc. ** base cases
Empowered by
Model-Based
Design

## Slide 49: Electrical Grid Issues
58
47
Resource Studies
Life-cycle Analysis
Energy Management
System
Sustainable Energy
Technologies
Pricing
Electricity Markets
Reactive Power
Ancillary Service
System Studies
Smart Grids
DG Planning
Techno-economic
Studies
Dynamic Models
Demand Response
DOPF
Renewable Energy
Coordination
Short-term Operations
Real-time Operations
Rate of Return Analysis
Spinning Reserve
Markets
Long-term Operations
Mathematical Model
with CAES
Grid Impact
CAES Sizing
and Siting
Ontario / Alberta
Issues: Modeling

## Slide 50: Government Policy
Feed-In Tariff to promote Wind and Solar
(no storage allowed)

## Slide 51: Government Policy
Feed-In Tariff to promote Wind and Solar
(no storage allowed)
Installing Public Chargers
(elec. utility $; EV like fossil fuel car)

## Slide 52: Government Policy
Feed-In Tarrif to promote Wind and Solar
(no storage allowed)
Installing Public Chargers
(elec. utility $; EV like fossil fuel car)
LARGE SCALE ENEGY STORAGE REQUIRED!!

## Slide 53: Why CAES?
Government’s commitment to carbon emissions reduction
500 MW for 15 hours has surface footprint of only several hectares.
CAES with air engines zero CO2 possible.
No significant technical barriers.
Research and IP spinoffs
Grid Benefits (capacity, stabilization, resilience)
Lower Base Load is feasible
Reduced need for Natural Gas

## Slide 54
Questions?
CAES is needed